Project Report: Advanced Brain Tumor Segmentation via Iterative U-Net Optimization

Date: March 11, 2026

Prepared By: Meheraj Hasan

Subject: Comparative Performance Analysis of Semantic Segmentation Architectures (Baseline U-Net to UNet 3+)

1. Introduction and Problem Definition

In medical imaging, precise localization of anomalies is critical for diagnosis and surgical planning. Brain tumor segmentation involves partitioning MRI scans into distinct regions, specifically identifying tumorous tissue against healthy brain matter. This task presents several distinct challenges:

- Class Imbalance: Tumor pixels represent a tiny fraction (often $<2\%$) of the total image volume, leading models to heavily favor background predictions.

- Structural Variability: Tumors vary wildly in shape, size, and location across different patients.

- Boundary Ambiguity: The boundary between healthy tissue and tumorous growth is often highly irregular, making precise edge detection a high-stakes challenge.

2. Evolution of Architectures

2.1 Standard U-Net (v1 - v3)

The foundational U-Net consists of a symmetric "contracting" path to capture context and an "expanding" path to enable precise localization. It relies on plain skip connections that directly concatenate high-resolution feature maps from the encoder with upsampled feature maps from the decoder.

2.2 UNet++: Nested Skip Pathways (v4)

The UNet++ architecture was implemented to address the limitations of plain skip connections. It is a deeply-supervised encoder-decoder network connected through a series of nested, dense skip pathways. These re-designed skip pathways aim at reducing the semantic gap between the feature maps of the encoder and decoder sub-networks. By enriching high-resolution feature maps before fusion, the optimizer faces an easier learning task because the concatenated feature maps are semantically similar.

2.3 UNet 3+: Full-Scale Connectivity (v5)

To further maximize the utilization of multi-scale features, UNet 3+ was implemented. This architecture introduces full-scale skip connections that incorporate low-level details with high-level semantics from feature maps across all scales. Additionally, it utilizes full-scale deep supervision, learning hierarchical representations from the aggregated feature maps at every decoder stage. This allows the network to explicitly learn the position and boundary of an organ, regardless of its varying scale within the medical image volume.

3. Methodology: Preprocessing and Training Pipeline

An end-to-end pipeline was built using PyTorch Lightning to ensure a robust training environment and reproducible metrics.

3.1 Data Preprocessing & Augmentation

- Resolution: Input images and masks were resized to standard dimensions ($572 \times 572$ for unpadded baselines, $256 \times 256$ for advanced architectures) to optimize GPU memory while maintaining spatial resolution.

- Normalization: Pixel values were scaled to $[0, 1]$.

- Advanced Augmentation: Heavy data augmentation was applied to simulate organic tissue variability. This included Horizontal/Vertical Flips, ShiftScaleRotate, and crucially, Elastic Transformations, which mimic realistic tissue deformations.

3.2 Training Strategy

- Loss Function Evolution: Early iterations struggled with standard Binary Cross Entropy (BCE) due to severe class imbalance. The training strategy evolved to utilize a Hybrid Loss function (BCE + Soft Dice Loss) and eventually incorporated an Intersection over Union (IoU) penalty. In v5 (UNet 3+), this hybrid loss was summed across five deep supervision outputs.

- Optimization: The Adam optimizer was paired with a Cosine Annealing Learning Rate Scheduler (initial LR $3 \times 10^{-4}$) to ensure smooth convergence over 30 epochs.

4. Iterative Development: From Baseline to State-of-the-Art

- v1 (Baseline U-Net): Pure implementation. Suffered from the "Zero Dice" trap due to class imbalance.

- v2 (Hybrid Loss): Introduced Soft Dice Loss, solving the zero-metric issue and stabilizing the network.

- v3 (Unpadded Precision): Matched exact paper specifications with copy-and-crop logic. Reached a performance ceiling.

- v4 (UNet++): Integrated nested, dense skip connections. This significantly improved the model's ability to delineate irregular tumor borders by bridging the semantic gap.

- v5 (UNet 3+): Deployed full-scale skip connections and deep supervision. This version captured both fine-grained details and coarse-grained semantics simultaneously, achieving the highest segmentation accuracy.

5. Comparative Result Analysis

The transition to advanced architectures yielded substantial improvements in localization and overlap accuracy.

5.1 Performance Metrics Table

| Version | Architecture | Max Val Dice | Max Val IoU | Status |
| --- | --- | --- | --- | --- |
| v1 | Baseline U-Net | 0.1683 | 0.0988 | High Imbalance Failure |
| v2 | U-Net + Hybrid Loss | 0.7742 | 0.6534 | Baseline Established |
| v3 | Unpadded U-Net | 0.7749 | 0.6455 | Consistent |
| v4 | UNet++ | 0.8290 | 0.7109 | Major Improvement |
| v5 | UNet 3+ | 0.8469 | 0.7294 | State-of-the-Art (Optimal) |

5.2 Training Convergence (Loss Curves)

Note: The absolute loss values in v5 appear higher numerically due to the summation of hybrid loss across five distinct deep supervision side-outputs.

[Insert Figure: UNet++ (v4) Training vs Validation Loss Curve] [Insert Figure: UNet 3+ (v5) Training vs Validation Loss Curve]

6. Visualization of Results

The qualitative output on the test dataset demonstrates the progression in architectural capability. While early versions managed to identify the general location of the tumor, UNet++ and UNet 3+ significantly reduced false positives and captured the highly irregular, necrotic boundaries of the brain tumors with exceptional precision.

[Insert Figure: UNet++ (v4) Segmentation Visualization (5 Images: Input, Ground Truth, Prediction)] [Insert Figure: UNet 3+ (v5) Segmentation Visualization (5 Images: Input, Ground Truth, Prediction)]

7. Conclusion

The iterative development pipeline demonstrates that while the original U-Net provides a strong foundation, the strict requirements of biomedical segmentation demand advanced feature aggregation. By bridging the semantic gap with nested pathways (UNet++) and eventually combining multi-scale hierarchical features via full-scale connections and deep supervision (UNet 3+), the framework effectively mitigated class imbalance and boundary ambiguity. The final v5 model achieved an exceptional 84.69% Validation Dice score and 72.94% IoU, establishing a highly reliable, state-of-the-art pipeline ready for clinical evaluation and deployment.